## Sheet1
Water Quality Data Table
The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. The presence of contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.
Contaminates | MCLG or MRDLG | MCL, TT, or MRDL | Your Water | Low | High | Sample Date | Violation | Typical Source
Haloacetic Acids(HAA5) (ppb) | NA | 60 | 2.6 | 0 | 24.8 | 2016 | No | By-product of drinking water chlorination
TTHMs(total trihalomethanes)(ppb) | NA | 80 | 29 | 10.7 | 26.6 | 2016 | No | By-product of drinking water disinfection
TOC Test Results
Total Organic Carbon | NA | TT | 1.02% | NA |  | 2016 | No | Naturally present in the environment
Volatile Organic Compounds
Chlorine(ppm) | 4 | 4 | 2.6 | 2 | 2.6 | 2016 | No | Additives used to control microbes
Chlorite(ppm) | 1 | 0.8 | 0.53 | 0.28 | 0.77 | 2016 | No | Additives used to control microbes
Chlorine Dioxide(ppm) | 8 | 80 | 0 | 0 | 0 | 2016 | No | Additives used to control microbes
Microbiological Contaminates
Total Coliform Bacteria | NA | 5% | 1 | NA |  | 2016 | No | Naturally present in the environment
Turbidity | NA | TT | 0.09 | NA |  | 2016 | No | Soil Runoff
Inorganic Contaminates
Fluoride | 4 | 4 | 0.59 | 0.59 | 0.59 | 2016 | No | Occurs naturally. Additive to promote strong teeth, discharge from fertilizer and aluminum factories
Sodium |  |  | 50 |  |  | 2016 | No
Nitrate(measured as nitrogen)(ppm) | 10 | 10 | 1.2 | 1.2 | 1.2 | 2016 | No | Runoff from fertilizer use; leaching from septic tanks, sewage; natural deposits
Contaminates | MCLG | AL | Your Water | Sample Date | # Sites Over AL | Over AL | Typical source
Inorganic Contaminates
Copper-action level at consumer taps(ppm) | 1.3 | 1.3 | 0.23 | 2016 | 0 | No | Corrosion of household plumbing systems, erosion of natural deposits
Lead-action level at consumer taps(ppb) | 0 | 0.015 | 3.8 | 2016 | 2 | No | Corrosion of household plumbing systems, erosion of natural deposits
Unit Descriptions
ppm |  |  | ppm: parts per million or milligrams per liter (mg/l)
ppb |  |  | ppb: parts per billion, or micrograms per liter (ug/l)
na |  |  | na: not applicable
nd |  |  | nd: not detected
nr |  |  | nr: monitoring not required
MCLG |  |  | MCLG: Maximum contaminat level goal: The level of contaminate in drinking water below which there is no known or expected health risk. MCLGs allow for a margin of safety.
MCL |  |  | MCL: Maximum Contaminate Level: The highest level of a contaminate that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.
TT |  |  | TT: Treatment Technique: A required process intended to reduce the level of a contaminate in drinking water.
AL |  |  | AL: Action Level: The concentration of a contaminate which, if exceeded, triggers treatment or other requirements which a water system must follow.
Variance and Exemptions |  |  | Variances and exemptions: State or EPA permission not to meet an or a treatment technique under certain conditions.
MRDLG |  |  | MRDLG: Maximum residual disinfection goal: The level of a drinking water disinfectant below which there is no know or expected health risk. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminates
MRDL |  |  | MRDL: Maximum residual disinfectant level: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminates.
MNR |  |  | MNR: Monitored not regulated
MPL |  |  | MPL:State assigned maximum permissable level

## Sheet2
Water Quality Data Table
The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. The presence of contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.
Contaminants | MCLG or MRDLG | MCL, TT, or MRDL | Your Water | Low | High | Sample Date | Violation | Typical Source
Haloacetic Acids(HAA5) (ppb) | NA | 60 | 12 (LRAA) | 0 | 14.2 | 2018 | No | By-product of drinking water chlorination
TTHMs(total trihalomethanes)(ppb) | NA | 80 | 21 (LRAA) | 12.1 | 24.9 | 2018 | No | By-product of drinking water disinfection
TOC Test Results
Total Organic Carbon | NA | TT | 118 | 1.73-3.3 |  | 2018 | No | Naturally present in the environment
Disinfectant
Chlorine(ppm) | 4 | 4 | 2.4 (RAA) | 1.81 | 3.14 | 2018 | No | Additives used to control microbes
Microbiological Contaminants
Total Coliform Bacteria | NA | 5% | 1 | NA |  | 2018 | No | Naturally present in the environment
Turbidity | NA | TT | 0.09 | NA |  | 2018 | No | Soil Runoff
Inorganic Contaminants
Fluoride (ppm) | 4 | 4 | 0.62 | 0.62 | 0.62 | 2018 | No | Occurs naturally. Additive to promote strong teeth, discharge from fertilizer and aluminum factories
Sodium (ppm) | NA | NA | 13 | 13 | 13 | 2018 | No | Erosion of natural deposits.
Nitrate(measured as nitrogen)(ppm) | 10 | 10 | 1 | 1 | 1 | 2018 | No | Runoff from fertilizer use; leaching from septic tanks, sewage; natural deposits
Contaminants | MCLG | AL | Your Water | Sample Date | # Sites Over AL | Over AL | Typical source
Lead and Copper
Copper-action level at consumer taps(ppm) | 1.3 | 1.3 ppm | 0.23 | 2016 | 0 | No | Corrosion of household plumbing systems, erosion of natural deposits
Lead-action level at consumer taps(ppb) | 0 | 15 ppb | 3.8 | 2016 | 2 | No | Corrosion of household plumbing systems, erosion of natural deposits
Other unregulated contaminants
Metolachlor (ppb) | NA | NA | 0.12 | 0.12 - 0.12 |  | 2018 | No | Runoff from herbicide used on a variety of crops, hedgerows and landscape plantings.
Unit Descriptions
ppm |  |  | ppm: parts per million or milligrams per liter (mg/l)
ppb |  |  | ppb: parts per billion, or micrograms per liter (ug/l)
na |  |  | na: not applicable
nd |  |  | nd: not detected
nr |  |  | nr: monitoring not required
MCLG |  |  | MCLG: Maximum contaminat level goal: The level of contaminate in drinking water below which there is no known or expected health risk. MCLGs allow for a margin of safety.
MCL |  |  | MCL: Maximum Contaminate Level: The highest level of a contaminate that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.
TT |  |  | TT: Treatment Technique: A required process intended to reduce the level of a contaminate in drinking water.
AL |  |  | AL: Action Level: The concentration of a contaminate which, if exceeded, triggers treatment or other requirements which a water system must follow.
Variance and Exemptions |  |  | Variances and exemptions: State or EPA permission not to meet an or a treatment technique under certain conditions.
MRDLG |  |  | MRDLG: Maximum residual disinfection goal: The level of a drinking water disinfectant below which there is no know or expected health risk. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminates
MRDL |  |  | MRDL: Maximum residual disinfectant level: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminates.
MNR |  |  | MNR: Monitored not regulated
MPL |  |  | MPL:State assigned maximum permissable level
BDL |  |  | Below detectable level